## Slide 1: Three Phase System
Lecture_2

## Slide 2: Topics to Be Covered
Balance and Unbalanced load and Source
Possible Configurations
Relation between Line and Phase Voltage
Relation between Line and Phase Current
Mathematical Approach

## Slide 3: Balanced and Unbalanced Sources
Balanced phase voltages are equal in magnitude and are out of phase with each other by 120◦.
Example of Balance three phase system

## Slide 4: Problem_1
Prove that, the summation of balance three phase voltages is zero.

## Slide 5: Balance Load
A balanced load is one in which the phase impedances are equal in magnitude and in phase.

## Slide 6: Mathematical Problems
Convert wye connected load into delta connected load

## Slide 7: Possible Configuration

## Slide 8: Problems of Delta-Wye System
In a wye-connected load, the neutral may not be accessible.
Delta connected sources are not common in practice because of the circulating current that will result in the delta-mesh if the three-phase voltages are slightly unbalanced

## Slide 9: Relation between Line voltage and Phase Voltage

## Slide 10: Mathematical Problem

## Slide 11: Mathematical Problem

## Slide 12
Ready for Group Study